## Consolidated
MOGALE CITY LOCAL MUNICIPALITY
INFRASTRUCTURE SERVICES
ANALYTICAL RESULTS
| RESERVOIR SAMPLE POINTS | JANUARY 2012 | [5 empty] | FEBRUARY 2012 | [5 empty] | MARCH 2012
|  | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli
|  | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml
No. | Standard | <150 | 5.0-9.5 | <1 | N/S | N/S | 0 | <150 | 5.0-9.5 | <1 | N/S | N/S | 0 | <150 | 5.0-9.5 | <1 | N/S | N/S | 0
1 | Azaadville Old | 21.3 | 8.08 | 0.1 | 0.4 | 0 | 0 | 21.3 | 7.9 | 0.42 | 0.35 | 3 | 0
2 | Azaadville New | 22 | 7.8 | 0.31 | 0.3 | 26 | 0 | 21.5 | 7.95 | 0.16 | 0.35 | 3 | 0
3 | Chamdor | 20.9 | 7.91 | 0.4 | 0.2 | 0 | 0 | 21.2 | 7.81 | 0.14 | 0.3 | 0 | 0
4 | Dan Pienaarville Old | 21.6 | 7.4 | 0.17 | 0.3 | 0 | 0 | 21.6 | 7.6 | 0.24 | 0.3 | 0 | 0
5 | Dan Pienaarville New | 21.1 | 7.46 | 0.17 | 0.4 | 0 | 0 | 21.3 | 7.6 | 0.1 | 0.28 | 5 | 0
6 | Factoria | 20.8 | 7.87 | 0.14 | 0.4 | 1 | 0 | 21.4 | 7.69 | 0.13 | 0.3 | 8 | 1
7 | Kagiso | 21.7 | 7.73 | 0.61 | 0.2 | 12 | 0 | 21.2 | 7.88 | 7.88 | 0.17 | 7 | 0
8 | Kagiso 12 | 21.5 | 7.78 | 0.26 | 0.4 | 1 | 0 | 21.5 | 7.54 | 0.24 | 0.4 | 0 | 0
9 | Kenmare / Silverfields | 21 | 7.5 | 0.27 | 0.3 | 12 | 0 | 21.3 | 7.53 | 0.38 | 0.3 | 0 | 0
10 | Krugersdorp | 21.2 | 7.47 | 0.16 | 0.2 | 34 | 0 | 21.4 | 7.86 | 0.18 | 0.2 | 2 | 0
11 | Magalies | 21.7 | 7.96 | 0.16 | 0.4 | 17 | 0 | 21.8 | 7.65 | 0.12 | 0.4 | 15 | 0
12 | Munsieville | 21.2 | 7.6 | 0.24 | 0.3 | 15 | 0 | 21.4 | 7.61 | 0.2 | 0.2 | 0 | 0
13 | Noordheuwel | 21.3 | 7.84 | 0.12 | 0.2 | 0 | 0 | 21.3 | 7.64 | 0.19 | 0.3 | 2 | 0
14 | Rant & Dal / Noordheuwel | 21.3 | 7.45 | 0.2 | 0.15 | 17 | 0 | 21.3 | 7.19 | 0.25 | 0.15 | 10 | 0
15 | Rangeview | 21.3 | 7.82 | 0.24 | 0.2 | 34 | 0 | 21.4 | 7.72 | 0.11 | 0.3 | 0 | 0
16 | Rand Water | 21.1 | 7.61 | 0.26 | 0.4 | 10 | 0 | 21.5 | 7.49 | 0.27 | 0.3 | 1 | 0
| DISTRIBUTION NETWORK SAMPLE POINTS | JANUARY 2012 | [5 empty] | FEBRUARY 2012 | [5 empty] | MARCH 2012
|  | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli
|  | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml
No. | Standard | <150 | 5.0-9.5 | <1 | N/S | N/S | 0 | <150 | 5.0-9.5 | <1 | N/S | N/S | 0 | <150 | 5.0-9.5 | <1 | N/S | N/S | 0
1 | Game Reserve Connection | 21.3 | 8.16 | 0.15 | 0.4 | 21 | 0 | 21.3 | 7.8 | 0.13 | 0.4 | 4 | 0
2 | Hakunamatata | 21.2 | 7.65 | 0.14 | 0.4 | 0 | 0 | 21.2 | 7.84 | 0.2 | 0.4 | 11 | 0
3 | Hekpoort Connection | 21.6 | 7.96 | 0.33 | 0.3 | 0 | 0 | 21.4 | 7.75 | 0.1 | 0.2 | 1 | 0
4 | Hole in one road | 21.1 | 7.47 | 0.19 | 0.3 | 0 | 0 | 21.3 | 7.8 | 0.22 | 0.3 | 6 | 0
5 | Mindalore Connection | 20.7 | 8.1 | 0.16 | 0.1 | 0 | 0 | 21.2 | 8.02 | 0.2 | 0.15 | 1 | 0
6 | West Village Connection | 21.3 | 7.84 | 0.2 | 0.3 | 29 | 0 | 21.8 | 7.52 | 0.17 | 0.3 | 32 | 0
7 | Westonaria Connection | 21.4 | 7.79 | 0.16 | 0.4 | 0 | 0 | 21.5 | 7.68 | 0.19 | 0.4 | 48 | 0
| NETWORK HYDRANTS FOR WATER TANKERS | JANUARY 2012 | [5 empty] | FEBRUARY 2012 | [5 empty] | MARCH 2012
|  | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli
|  | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml
No. | Standard | <150 | 5.0-9.5 | <1 | N/S | N/S | 0 | <150 | 5.0-9.5 | <1 | N/S | N/S | 0 | <150 | 5.0-9.5 | <1 | N/S | N/S | 0
1 | Magalies Taxi Rank | 21 | 7.74 | 0.14 | 0.15 | 14 | 0 | 21.7 | 7.76 | 0.16 |  | 197 | 0
2 | Tarlton Helderblom | 21.1 | 7.73 | 0.25 | 0.3 | 1 | 0 | 21.6 | 7.86 | 0.18 |  | 0 | 0
3 | Tarlton Marabeth | 21.5 | 7.8 | 0.17 | 0.2 | 1 | 0 | 21.5 | 7.99 | 0.2 |  | 0 | 0
4 | Wildtuin Park | 21.1 | 7.6 | 0.19 | 0.3 | 10 | 0 | 21.7 | 7.8 | 0.17 |  | 0 | 0
5 | Zwartskop | 21.7 | 7.35 | 0.14 | 0.2 | 8 | 0 | 21.7 | 7.32 | 0.1 |  | 91 | 0
| END POINT USER SAMPLE POINTS | 1 | [5 empty] | FEBRUARY 2012 | [5 empty] | MARCH 2012
|  | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli
|  | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml
No. | Standard | <150 | 5.0-9.5 | <1 | N/S | N/S | 0 | <150 | 5.0-9.5 | <1 | N/S | N/S | 0 | <150 | 5.0-9.5 | <1 | N/S | N/S | 0
1 | RW Azaadville LX
2 | RW Kagiso CS
3 | RW Krug West TS
4 | RW Magalies WWTW
5 | RW Maranata Church
6 | RW Munsieville JP
7 | RW Noordheuwel RB
8 | RW Nulaid Eggs
9 | RW Ruimsig KM
10 | Azaadville Engen Garage | 20.8 | 7.97 | 0.44 | 0.2 | 0 | 0 | 21.2 | 8.1 | 0.13 | 0.2 | 0 | 0
11 | Bastion High School | 21.2 | 8.08 | 0.24 | 0.3 | 0 | 0 | 21.8 | 8.06 | 0.25 | 0.15 | 1 | 0
12 | Breaunanda 27 Walnut str | 21.4 | 7.83 | 0.18 | 0.15 | 196 | 0 | 21.6 | 7.9 | 0.17 | 0.15 | 53 | 0
13 | Chamdor BP Garage | 20.8 | 7.66 | 0.1 | 0.3 | 0 | 0 | 21.3 | 7.9 | 0.27 | 0.23 | 500 | 0
14 | Featherbrooke Clubhouse | 21.1 | 7.81 | 0.2 | 0.2 | 2 | 0 | 21.3 | 7.69 | 0.22 | 0.2 | 5 | 0
15 | Kagiso Ext 1 Clinic | 20.8 | 7.85 | 0.12 | 0.15 | 0 | 0 | 21.2 | 7.9 | 0.25 | 0.2 | 26 | 0
16 | Kagiso Ext 14 School | 20.7 | 7.73 | 0.21 | 0.3 | 0 | 0 | 21.2 | 7.84 | 0.13 | 0.3 | 1 | 0
17 | Kagiso Ext 2 Clinic | 21.7 | 7.78 | 0.2 | 0.2 | 1 | 0 | 21.3 | 7.73 | 0.19 | 0.3 | 7 | 1
18 | Kagiso Ext 2 Mandiba High School | 21.7 | 7.68 | 0.28 | 0.15 | 4 | 0 | 21.4 | 7.8 | 0.15 | 0.2 | 18 | 1
19 | Kagiso Ext 6 Church of Jesus C. | 21.6 | 7.8 | 0.16 | 0.3 | 13 | 0 | 21.3 | 7.76 | 0.4 | 0.15 | 1 | 0
20 | Kagiso Ext 6 Power Station | 21.6 | 7.78 | 0.36 | 0.2 | 3 | 0 | 21.4 | 7.42 | 0.26 | 0.2 | 6 | 0
21 | Kagiso Ext 8 Assembly of God | 21.7 | 7.8 | 0.56 | 0.3 | 2 | 0 | 21.4 | 7.68 | 0.23 | 0.3 | 13 | 1
22 | Kagiso Leratong Total Garage | 21.7 | 7.84 | 0.33 | 0.2 | 2 | 0 | 21.3 | 7.55 | 0.31 | 0.2 | 3 | 1
23 | Kagiso Post Office | 22 | 7.94 | 0.36 | 0.2 | 206 | 0 | 21.8 | 7.92 | 0.17 | 0.18 | 109 | 0
24 | Kenmare c/o Dingle & Dromore | 21.1 | 7.63 | 0.29 | 0.3 | 0 | 0 | 21.5 | 7.62 | 0.23 | 0.28 | 122 | 1
25 | Luipaardsvlei Old Age Home | 21 | 7.64 | 0.22 | 0.15 | 6 | 0 | 21.4 | 7.88 | 0.11 | 0.18 | 27 | 0
26 | Lusaka 1 Community Hall | 21 | 7.73 | 0.38 | 0.4 | 0 | 0 | 21.5 | 7.79 | 0.25 | 0.25 | 0 | 0
27 | Lusaka 1 Sportsground | 20.8 | 7.95 | 0.1 | 0.3 | 26 | 0 | 21.3 | 7.93 | 0.33 | 0.35 | 8 | 0
28 | Lusaka 2 & 3 Clinic | 21.3 | 7.74 | 0.25 | 0.2 | 0 | 0 | 21.4 | 7.88 | 0.28 | 0.2 | 2 | 0
29 | Lusaka Pump Station | 21.3 | 7.77 | 0.25 | 0.3 | 2 | 0 | 21.4 | 7.88 | 0.16 | 0.3 | 1 | 0
30 | Mindalore Tennis Courts | 21 | 7.54 | 0.2 | 0.4 | 4 | 0 | 21.6 | 7.89 | 0.18 | 0.4 | 5 | 0
31 | Muldersdrift Primary | 21.5 | 7.47 | 0.35 | 0.2 | 87 | 0 | 21.3 | 7.77 | 0.26 | 0.2 | 166 | 0
32 | Muldersdrift Wolf Autohaus | 21.1 | 7.81 | 0.19 | 0.3 | 0 | 0 | 21.4 | 7.9 | 0.14 | 0.25 | 9 | 0
33 | NWT Lindley Joe Slovo | 21.4 | 7.57 | 0.15 | 0.2 | 4 | 0 | 21.4 | 7.49 | 0.14 | 0.15 | 104 | 0
34 | NWT Plot 89 Nooitgedacht | 20.7 | 7.49 | 0.24 | 0.15 | 8 | 0 | 21.4 | 7.58 | 0.2 | 0.11 | 66 | 0
35 | Sasol Pinehaven | 21.2 | 7.65 | 0.12 | 0.2 | 6 | 0 | 21.4 | 7.81 | 0.17 | 0.18 | 8 | 0
36 | Ruimsig Excel Garage | 21.1 | 7.79 | 0.15 | 0.3 | 0 | 0 | 21.3 | 7.89 | 0.3 | 0.28 | 3 | 0
37 | Silverfields 13 Gladwin Ave | 21.6 | 7.96 | 0.38 | 0.3 | 4 | 0 | 21.7 | 8.02 | 0.21 | 0.2 | 42 | 0
38 | Sinqobile Inkwenkwezi Edu Care | 21.4 | 7.74 | 0.16 | 0.3 | 26 | 0 | 21.8 | 7.94 | 0.19 | 0.23 | 2 | 0
39 | Wentworthpark Level & Peg | 20.9 | 7.76 | 0.23 | 0.2 | 2 | 0 | 21.3 | 7.71 | 0.19 | 0.18 | 40 | 0
40 | Boltonia Diesekl Pro | 21.2 | 7.78 | 0.2 | 0.3 | 43 | 0 | 21.4 | 7.85 | 0.18 | 0.35 | 2 | 0
41 | Chancliff Pumpstation | 21.3 | 7.86 | 0.28 | 0.2 | 49 | 0 | 21.5 | 7.73 | 0.14 | 0.28 | 6 | 0
42 | Gamohale Ubuntu Arts & Crafts | 21.8 | 7.91 | 0.15 | 0.3 | 63 | 0 | 21.8 | 7.83 | 0.22 | 0.25 | 205 | 0
43 | Kenmare Ext 4 Dublin str 79 | 21.6 | 7.92 | 0.18 | 0.15 | 27 | 0 | 21.6 | 7.73 | 0.22 | 0.15 | 0 | 0
44 | Krugersdorp-N Caltex Garage | 21.3 | 7.83 | 0.25 | 0.15 | 0 | 0 | 21.6 | 7.67 | 0.21 | 0.2 | 21 | 0
45 | Krugersdorp Privat Hospital | 21.2 | 7.8 | 0.16 | 0.2 | 17 | 0 | 21.4 | 7.87 | 0.14 | 0.28 | 7 | 0
46 | Krugersdorp-W Agavia Park | 21.4 | 7.94 | 0.18 | 0.3 | 0 | 0 | 21.6 | 7.96 | 0.14 | 0.25 | 6 | 0
47 | Krugersdorp-W Caltex Garage | 21.4 | 8 | 0.16 | 0.15 | 17 | 0 | 21.6 | 7.97 | 0.2 | 0.4 | 2 | 0
48 | Letamo Game Lodge | 21.7 | 7.95 | 0.29 | 0.1 | 19 | 0 | 22.1 | 7.95 | 0.16 | 0.18 | 2 | 0
49 | Maropeng | 20.8 | 7.65 | 0.35 | 0.3 | 0 | 0 | 21.5 | 7.67 | 0.19 | 0.25 | 77 | 0
50 | Monument Nicolas Smuts str | 21.3 | 7.86 | 0.18 | 0.3 | 5 | 0 | 21.5 | 7.57 | 0.16 | 0.18 | 2 | 0
51 | Monument Woodstream Lofts | 21.4 | 7.93 | 0.15 | 0.2 | 0 | 0 | 21.5 | 7.8 | 0.29 | 0.18 | 7 | 0
52 | Munsieville Clinic | 21.3 | 7.79 | 0.24 | 0.15 | 0 | 0 | 21.5 | 7.9 | 0.18 | 0.3 | 1 | 0
53 | Munsieville Ext 4 Pumpstation | 21.1 | 7.82 | 0.21 | 0.2 | 0 | 0 | 21.5 | 7.86 | 0.16 | 0.18 | 23 | 0
54 | Noordheuwel Sasol Garage | 21.5 | 7.8 | 0.19 | 0.15 | 17 | 0 | 21.5 | 7.69 | 0.19 | 0.18 | 0 | 0
55 | Noordheuwel 49 Soutpansberg | 21.3 | 7.92 | 0.22 | 0.1 | 0 | 0 | 22.2 | 7.94 | 1.37 | 0.15 | 30 | 0
56 | NWT Hekpoort | 21.5 | 7.83 | 0.19 | 0.4 | 0 | 0 | 21.7 | 7.81 | 0.34 | 0.35 | 15 | 0
57 | NWT Protearidge Plot 126 | 21.4 | 7.82 | 0.25 | 0.15 | 79 | 0 | 22 | 7.62 | 0.3 | 0.18 | 205 | 0
58 | NWT Tarlton Smokedown | 21 | 7.93 | 0.12 | 0.3 | 0 | 0 | 21.3 | 7.82 | 0.23 | 0.25 | 68 | 0
59 | Percy Stewart (Drinking) | 21.9 | 8.39 | 0.18 | 0.4 | 7 | 0 | 21.8 | 7.63 | 0.13 | 0.23 | 10 | 0
60 | President Building | 21.4 | 7.8 | 0.14 | 0.2 | 23 | 0 | 21.6 | 7.85 | 0.28 | 0.15 | 24 | 0
61 | Rangeview Jehova Watch Tower | 21..2 | 7.81 | 0.16 | 0.15 | 27 | 0 | 21.7 | 7.82 | 0.44 | 0.18 | 11 | 0
62 | Rangeview Total Garage Norden | 21.3 | 7.79 | 0.18 | 0.1 | 20 | 0 | 21.5 | 7.74 | 0.43 | 0.15 | 18 | 0
63 | Rant & Dal Gau-Trans Yard | 21.6 | 7.83 | 0.27 | 0.2 | 32 | 0 | 22.1 | 7.89 | 0.36 | 0.25 | 8 | 0
64 | Rant & Dal Shell Garage | 21.4 | 7.86 | 0.22 | 0.15 | 0 | 0 | 21.8 | 7.89 | 0.42 | 0.23 | 19 | 0
65 | Sterkfontein Caves | 21.5 | 7.82 | 0.24 | 0.3 | 0 | 0 | 21.5 | 7.87 | 0.15 | 0.25 | 0 | 0
66 | Sterkfontein Zenex Garage | 21.5 | 7.92 | 0.26 | 0.2 | 0 | 0 | 22 | 7.85 | 0.28 | 0.18 | 3 | 0
N/S
| RURAL BOREHOLES WITH STORAGE TANKS SAMPLE POINTS | JANUARY 2012 | [5 empty] | FEBRUARY 2012 | [5 empty] | MARCH 2012
|  | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli
|  | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml
No. | Standard | <150 | 5.0-9.5 | <1 | N/S | N/S | 0 | <150 | 5.0-9.5 | <1 | N/S | N/S | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0
1 | Bekker School | 22.3 | 7.73 | 1.56 | 0.1 | 2 | 0 | 25.6 | 7.51 | 0.23 |  | 1 | 0
2 | FJ Klopper School | 54.1 | 7.34 | 0.18 | 0.1 | 740 | 17 | 52.9 | 7.43 | 0.18 |  | 281 | 0
3 | Golden Harvest | 25.9 | 7.66 | 0.3 | 0.15 | 2 | 5 | 26.1 | 7.67 | 0.2 |  | 0 | 5
4 | Kwaggafontein School | 8.2 | 6.9 | 0.15 |  | 2 | 0 | 7.5 | 6.98 | 0.17 |  | 127 | 0
5 | Letamo Game Lodge | 69.1 | 7.29 | 0.17 |  | 820 | 180 | 70.1 | 7.98 | 0.21 |  | 279 | 0
6 | Little Farm Yard | 10.5 | 7.12 | 0.1 |  | 180 | 0 | 37 | 5.97 | 0.17 |  | 99 | 0
7 | Maanhaarrand | 29.2 | 7.29 | 0.2 |  | 7 | 1 | 28 | 7.13 | 0.46 |  | 2 | 0
8 | Maloney's Eye School | 42.2 | 7.33 | 0.1 |  | 320 | 47 | 19.4 | 7.57 | 1.13 |  | 5 | 0
9 | Migalsoord | 91.4 | 6.95 | 0.29 |  | 180 | 6 | 90.5 | 7.01 | 20 |  | 20 | 0
10 | Protearidge Plot 124 | 34 | 6.78 | 0.21 |  | 120 | 0 | 37.7 | 7.63 | 0.11 |  | 379 | 0
11 | Satellite Station | 2.7 | 6.34 | 9.5 |  | 0 | 0 | 69.9 | 7.65 | 0.53 |  | 95 | 0
.
| RURAL BOREHOLES WITHOUT STORAGE TANKS SAMPLE POINTS | JANUARY 2012 | [5 empty] | FEBRUARY 2012 | [5 empty] | MARCH 2012
|  | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | TPC | Escherichia Coli
|  | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/1ml | cfu/100ml
No. | Standard | <150 | 5.0-9.5 | <1 | N/S | N/S | 0 | <150 | 5.0-9.5 | <1 | N/S | N/S | 0 | <150 | 5.0-9.5 | <1 | N/S | N/S | 0
1 | Boikarabelo | 46.6 | 7.82 | 0.19 |  | 1020 | 15 | 47.1 | 7.62 | 0.64 |  | 22 | 0
2 | Driefontein Plot 38 | 15 | 6.83 | 0.28 |  | 0 | 0 | 15.2 | 6.69 | 0.45 |  | 59 | 0
3 | Radikgomo | 50.6 | 7.07 | 1.22 |  | 220 | 0 | 50.1 | 7.25 | 4.4 |  | 84 | 0

## Reservoirs
MOGALE CITY LOCAL MUNICIPALITY
INFRASTRUCTURE SERVICES
ANALYTICAL RESULTS
| RESERVOIR SAMPLE POINTS | JANUARY 2011 | [5 empty] | FEBRUARY 2011 | [5 empty] | MARCH 2011
|  | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli
|  | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml
No. | Standard | <150 | 5.0-9.5 | <1 | N/S | 0 | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0
1 | Azaadville Old
2 | Azaadville New
3 | Chamdor
4 | Dan Pienaarville Old
5 | Dan Pienaarville New
6 | Factoria
7 | Kagiso
8 | Kagiso 12
9 | Kenmare / Silverfields
10 | Krugersdorp
11 | Magalies
12 | Munsieville
13 | Noordheuwel
14 | Rant & Dal / Noordheuwel

## Distribution Networks
MOGALE CITY LOCAL MUNICIPALITY
INFRASTRUCTURE SERVICES
ANALYTICAL RESULTS
| DISTRIBUTION NETWORK SAMPLE POINTS | JANUARY 2011 | [5 empty] | FEBRUARY 2011 | [5 empty] | MARCH 2011
|  | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli
|  | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml
No. | Standard | <150 | 5.0-9.5 | <1 | N/S | 0 | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0
1 | Game Reserve Connection
2 | Hakunamatata
3 | Hole in one road
4 | Mindalore Connection
5 | West Village Connection
6 | Westonaria Connection

## End Point Users
MOGALE CITY LOCAL MUNICIPALITY
INFRASTRUCTURE SERVICES
ANALYTICAL RESULTS
| END POINT USER SAMPLE POINTS | JANUARY 2011 | [5 empty] | FEBRUARY 2011 | [5 empty] | MARCH 2011
|  | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli
|  | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml
No. | Standard | <150 | 5.0-9.5 | <1 | N/S | 0 | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0
1 | RW Azaadville LX
2 | RW Kagiso CS
3 | RW Krug West TS
4 | RW Magalies WWTW
5 | RW Maranata Church
6 | RW Munsieville JP
7 | RW Noordheuwel RB
8 | RW Nulaid Eggs
9 | RW Ruimsig KM
10 | Bastion High School
11 | NWT Hekpoort
12 | Letamo Game Lodge
13 | NWT Lindley Joe Slovo
14 | Lusaka Pump Station
15 | Maropeng
16 | Muldersdrift Primary
17 | NWT Plot 89 Nooitgedacht
18 | Percy Stewart (Drinking)
19 | President Building
20 | Sasol Pinehaven
21 | Sterkfontein Caves
22 | NWT Tarlton Smokedown

## Boreholes with storage tanks
MOGALE CITY LOCAL MUNICIPALITY
INFRASTRUCTURE SERVICES
ANALYTICAL RESULTS
| RURAL BOREHOLES WITH STORAGE TANKS SAMPLE POINTS | JANUARY 2011 | [5 empty] | FEBRUARY 2011 | [5 empty] | MARCH 2011
|  | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli
|  | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml
No. | Standard | <150 | 5.0-9.5 | <1 | N/S | 0 | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0
1 | Bekker School
2 | FJ Klopper School
3 | Golden Harvest
4 | Kwaggafontein School
5 | Letamo Game Lodge
6 | Little Farm Yard
7 | Maanhaarrand
8 | Maloney's Eye School
9 | Migalsoord
10 | Orient Hills
11 | Protearidge Plot 124
12 | Satellite Station

## Boreholes without storage tanks
MOGALE CITY LOCAL MUNICIPALITY
INFRASTRUCTURE SERVICES
ANALYTICAL RESULTS
| RURAL BOREHOLES WITHOUT STORAGE TANKS SAMPLE POINTS | JANUARY 2011 | [5 empty] | FEBRUARY 2011 | [5 empty] | MARCH 2011
|  | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli
|  | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml
No. | Standard | <150 | 5.0-9.5 | <1 | N/S | 0 | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0
1 | Boikarabelo
2 | Driefontein Plot 38
3 | Harpers Café
4 | Radikgomo

## Water Tankers
MOGALE CITY LOCAL MUNICIPALITY
INFRASTRUCTURE SERVICES
ANALYTICAL RESULTS
| WATER TANKERS | JANUARY 2011 | [5 empty] | FEBRUARY 2011 | [5 empty] | MARCH 2011
|  | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli | Electricity Conductivity | pH | Turbidity | Free Chlorine | Faecal Coliforms | Escherichia Coli
|  | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml | mS/m |  | NTU | mg/l | cfu/100ml | cfu/100ml
No. | Standard | <150 | 5.0-9.5 | <1 | N/S | 0 | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0 | <150 | 5.0-9.5 | <1 | N/S | 0 | 0
1 | Aqua Tanker 1
2 | Aqua Tanker 2
3 | Aqua Tanker 3
4 | Twin M Tanker 1
5 | Twin M Tanker 2
6 | Twin M Tanker 3