## Sheet1
1. | Filterpaper | Specifications | Unit | Certificate of Analyses and traceable to NIST/ Calibration | Brand Name of Product | Price Year 1 (incl VAT) | Rand of Exchange Implications (yes/no)
1.1 | MN 615 240mm | Macherey-Nagel or equivalent Filter paper 615 – 240 mm | box/100 | N/A
1.2 | MN 85/90 GF/C 9 cm | Macherey-Nagel or equivalent Glass Fibre Filter Paper MN 85/90 – 9 cm (Specs: Thickness = 0.40mm, basis weight = 90 g/m2, filtration speed air = 15 s, particle retention = 0.5 µm, organic binder) | box/25 or box/100 | N/A
1.3 | MN 640we 18.5 cm | Macherey-Nagel or equivalent Ashless Filter Paper MN 640 we – 18.5 cm (Specs: Very fast filtration Thickness = 0.22mm, basis weight = 85 g/m2, Filtration speed = 5 s) | box/100 | N/A
2. | Chemicals substances | Specifications | Unit | Certificate of Analyses and traceable to NIST/ Calibration | Brand Name of Product | Price Year 1(incl VAT) | Rand of Exchange Implications (yes/no)
2.1 | Ammonium Molybdate Tetrahydrate | Ammonium Molybdate Tetrahydrate, AR Grade | 500 g | yes
2.2 | Ammonium Sulphate | Ammonium Sulphate, AR Grade, plastic container | 500 g | yes
2.3 | Ascorbic Acid | Ascorbic Acid, AR Grade, plastic container | 500 g | yes
2.4 | Boric Acid Powder | Boric Acid powder, AR Grade, plastic container | 500 g | yes
2.5 | Citric Acid Anhydrate | Citric Acid Anhydrate, AR Grade, plastic container | 500 g | yes
2.6 | Potassium Iodide | Potassium Iodide, AR Grade, plastic container | 500 g | yes
2.7 | Potassium Sulphate | Potassium Sulphate, AR Grade, plastic container | 5 kg | yes
2.8 | Pottasium Chloride | Potassium Chloride, AR Grade, plastic container | 500 g | yes
2.9 | Sodium Chloride | Sodium Chloride, AR grade, plastic container | 500 g | yes
2.10 | Sodium Hydroxide | Sodium Hydroxide, AR Grade, plastic container | 5 kg | yes
2.11 | Sodium Thiosulphate Anhydrous | Sodium Thiosulphate, anhydrous, AR Grade, plastic container | 500 g | yes
2.12 | Starch Soluble | Starch, AR Grade, plastic container | 500 g | yes
2.13 | Sulfa Ver 4 Sulphate Reagent Powder Pillows | HACH or equivalent, Sulfaver 4 PP reagent powder 12065-99 (Specs: Contains Barium Chloride and Citric Acid) | Pack / 1000 pillows | yes
2.14 | Sodium Carbonate | Sodium Carbonate, AR grade, plastic container | 500 g and 5 kg | yes
2.15 | Monochloramine reagent | Hach DPD Monochlor F Reagent | Pack / 100 pillows | yes
| Kits | Specifications | Unit
2.16 | Free Chlorine Reagent Kit | HACH DPD Chlorine Free | Pack/1000 pillows | yes
2.17 | Total Chlorine Reagent Kit | HACH DPD Chlorine Total | Pack/100 pillows | yes
2.18 | Ammonium Chloride | Used for calibration and Quality Control Check | 500 g | yes
2.19 | Potassium Hydrogen Phthalate | Potassium Hydrogen Phthalate, AR Grade | 500 g | yes
2.20 | Microsystins tube kits | Test kits used for determination of Total microsytin on photometer, product number 520012A
2.21 | ALUMINIUM RGT CUVETTE 0.002 - 0.50mg/l PK25 | TNT848 ALUMINIUM RGT CUVETTE 0.002 - 0.50mg/l PK25 | 25/pack | yes
2.22 | COD LR CUVETTE 3 - 150mg/l PK25 | TNT821 COD LR CUVETTE 3 - 150mg/l PK25 | 25/pack | yes
2.23 | COD HR CUVETTE 20 - 1500mg/l PK25 | TNT822 COD HR CUVETTE 20 - 1500mg/l PK25 | 25/pack | yes
2.24 | COD HR+ CUVETTE 250 - 15000mg/l PK25 | TNT823 COD HR+ CUVETTE 250 - 15000mg/l PK25 | 25/pack | yes
2.25 | CYANIDE RGT SET 0.002 - 0.240mg/l 100 tests | 2430200 CYANIDE RGT SET 0.002 - 0.240mg/l 100 tests | 100/pack | yes
2.26 | FLUORIDE RGT SOL 0.02 - 2.00mg/l 125Tests | 44449 FLUORIDE RGT SOL 0.02 - 2.00mg/l 125Tests | 25/pack | yes
2.27 | NITRATE LR CUVETTE 0.2 - 13.5mg/l PK25 | TNT835 NITRATE LR CUVETTE 0.2 - 13.5mg/l PK25 | 25/pack | yes
2.28 | NITRATE HR CUVETTE TEST 5 - 35mg/l PK25 | TNT836 NITRATE HR CUVETTE TEST 5 - 35mg/l PK25 | 25/pack | yes
2.29 | NITRITE LR 0.015 - 0.6mg/l PK25 | TNT839 NITRITE LR 0.015 - 0.6mg/l PK25 | 25/pack | yes
2.30 | PHENOL RGT SET 0.002 - 0.200mg/l 100Tests | 2243900 PHENOL RGT SET 0.002 - 0.200mg/l 100Tests | 25/pack | yes
2.31 | SULFATE CUVETTE LR 40 - 150mg/l PK25 | TNT864 SULFATE CUVETTE LR 40 - 150mg/l PK25 | 25/pack | yes
2.32 | SULFATE CUVETTE HR 150 - 9000mg/l PK25 | TNT865 SULFATE CUVETTE HR 150 - 9000mg/l PK25 | 25/pack | yes
2.33 | PHOSPHORUS CUVETTE LR 0.05 - 4.5mg/l PK25 | TNT843 PHOSPHORUS CUVETTE LR 0.05 - 4.5mg/l PK25 | 25/pack | yes
2.34 | PHOSPHORUS CUVETTE HR 0.5 - 15mg/l PK25 | TNT844 PHOSPHORUS CUVETTE HR 0.5 - 15mg/l PK25 | 25/pack | yes
2.35 | SILCA RGT SET 0.01 - 1.600mg/l 100Tests | 2459300 SILCA RGT SET 0.01 - 1.600mg/l 100Tests | 100/pack | yes
3. | Spectroqant Test Methods for Pharos 100 (or equivalent) | Specifications | Unit | Certificate of Analyses and traceable to NIST/ Calibration | Brand Name of Product | Price Year 1 (incl VAT) | Rand of Exchange Implications (yes/no)
3.1 | Aluminium Test Kit | Aluminium test kit, 0.02 - 1.20 mg/l (1.14825.0001 or equivalent) | box/350 tests | yes
3.2 | Chemical Oxygen Demand (COD) Test Cells | COD cell test kit low range for SQ 118 photometer, 50-150 mg/l, 1.14540.0001 or equivalent | box/25 test | yes
3.3 | COD Cell test Kits Medium Range | COD cell test kit Medium range for SQ 118 photometer, 25 -1 500 mg/l, 1.14541.0001 or equivalent | box/25 test | yes
3.4 | COD Cell test Kits High Range | COD cell test kit High range for SQ 118 photometer, 500 - 10 000 mg/l, 1.14555.0001 or equivalent | box/25 test | yes
3.5 | Cyanide cell test kit | Cyanide cell test kit for SQ 118 photometer, 0.010 - 0.500 mg/l, 1.14561.0001 or equivalent | box/25 test | yes
3.6 | Fluoride cell test kit | Fluoride cell test kit for SQ 118 photometer, 0.10 - 1.50 mg/l, 1.14557.0001 or equivalent | box/25 test | yes
3.7 | Nitrate cell test kit | Nitrate cell test kit for SQ 118 photometer, 0.5-15.0 mg/l NO3, 1.14556.0001 or equivalent | box/25 test | yes
3.8 | Nitrate cell test kit | Nitrate cell test kit for SQ 118 photometer, 2.0-80.0 mg/l NO3, 1.14542.0001 or equivalent | box/25 test | yes
3.9 | Nitrite cell test kit | Nitrite cell test kit for SQ 118 photometer, 0.3-2.30 mg/l NO2, 1.14547.0001 or equivalent | box/25 test | yes
3.10 | Phenol cell test kit | Phenol cell test kit for SQ 118 photometer, 0.10 - 2.50 mg/l, 1.14551.0001 or equivalent | box/25 test | yes
3.11 | Silicate cell test kit | Silicate (Silicic acid) test (1.14794.0001) 0.005 - 5.0 mg/l Si or equivalent | box for 300 tests | yes
3.12 | Sulphate cell test kit | Sulphate cell test kit for SQ 118 photometer, 5.0 - 250.0 mg/l SO42-, 1.14548.0001 or equivalent | box/25 test | yes
3.13 | Sulphite cell test kit | Sulphite cell test kit for SQ 118 photomete, 1.0 - 20. mg/l SO32-,1.14394.0001 or equivalent | box/25 test | yes
3.14 | Phosphate cell test kit |  | box/25 test | yes
4. | Chemical Liquids | Specifications | Unit | Certificate of Analyses and traceable to NIST/ Calibration | Brand Name of Product | Price Year 1(incl VAT) | Rand of Exchange Implications (yes/no)
Single standard
4.1 | Aluminium Solution 1000 ppm | Aluminium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.2 | Antimony Solution 1000 ppm | Antimony Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.3 | Arsernic Solution 1000 ppm | Arsernic Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.4 | Barium Solution 1000 ppm | Barium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.5 | Berylium Solution 1000 ppm | Berylium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.6 | Boron Solution 1000 ppm | Boron Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.7 | Cadmium Solution 1000 ppm | Cadmium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.8 | Calcium Solution 1000 ppm | Calcium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.9 | Chromium Solution 1000 ppm | Chromium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.10 | Cobalt Solution 1000 ppm | Cobalt Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.11 | Copper Solution 1000 ppm | Copper Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.12 | Iron Solution 1000 ppm | Iron Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.13 | Lead Solution 1000 ppm | Lead Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.14 | Magnesium Solution 1000 ppm | Magnesium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.15 | Manganese Solution 1000 ppm | Manganese Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.16 | Mercury Solution 1000 ppm | Mercury Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.17 | Molybdenum Solution 1000 ppm | Molybdenum Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.18 | Nickel Solution 1000 ppm | Nickel Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.19 | Potassium Solution 1000 ppm | Potassium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.20 | Selenium Solution 1000 ppm | Selenium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.21 | Silicon Solution 1000 ppm | Silicon Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.22 | Sodium Solution 1000 ppm | Sodium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.23 | Stronium Solution 1000 ppm | Stronium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.24 | Uranium Solution 1000 ppm | Uranium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.25 | Vanadium Solution 1000 ppm | Vanadium Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
4.26 | Zinc Solution 1000 ppm | Zinc Standard Solution, 1000 ppm for use on ICP | 500 ml | yes
| Multi Standards |  |  | yes
4.27 | Ca,Mg, K, Na 1000 mg/l multi-element ICP standard | standard for ICP calibration | 500 ml | yes
4.28 | Ag, AL,B,Ba, Bi, Ca, Cd,Co,Cr,Cu,Fe,Ga,In K,Mg,Mn, Na,Ni,Pb, Sr, Ti, Zn Multi-element ICP Standard | standard for ICP calibration | 500 ml | yes
4.29 | Hydrochloric Acid | Hydrochloric acid, 32%, AR grade, glass bottle | 2.5 litre | yes
4.30 | Nitric Acid | Nitric acid, 55%, AR grade, glass bottle | 2.5 litre | yes
4.31 | Sulphuric Acid | Sulphuric Acid, 98%, glass bottle, AR grade | 2.5 litre | yes
5 | Standards | Specifications | Unit | Certificate of Analyses and traceable to NIST/ Calibration | Brand Name of Product | Price Year 1 | Rand of Exchange Implications (yes/no)
(incl VAT)
5.1 | Fluoride Standard Solution 1000 ppm | Flouride Standard Solution 1000 ppm, for use of calibration and Quality Check | 500 ml | yes
5.2 | COD Standard Solution 20 mg/l | COD Standard Solution 20 mg/l for Quality Check | 500 ml | yes
5.3 | COD Standard Solution 100 mg/l | COD Standard Solution 100 mg/l for Quality Check | 500 ml | yes
5.4 | COD Standard Solution 200 mg/l | COD Standard Solution 200 mg/l for Quality Check | 500 ml | yes
5.5 | COD Standard Solution 400 mg/l | COD Standard Solution 400 mg/l for Quality Check | 500 ml | yes
5.6 | COD Standard Solution 1000 mg/l | COD Standard Solution 1000 mg/l for Quality Check | 500 ml | yes
5.7 | COD Standard Solution 2000 mg/l | COD Standard Solution 2000 mg/l for Quality Check | 500 ml | yes
5.8 | COD Standard Solution 8000 mg/l | COD Standard Solution 8000 mg/l for Quality Check | 500 ml | yes
5.9 | Sulphate Standard Solution 40 mg/l | Sulphate Standard Solution 40 mg/l for Quality Check | 500 ml | yes
5.10 | Sulphate Standard Solution 125 mg/l | Sulphate Standard Solution 125 mg/l for Quality Check | 500 ml | yes
5.11 | Sulphate Standard Solution 400 mg/l | Sulphate Standard Solution 400 mg/l for Quality Check | 500 ml | yes
5.12 | Sulphate Standard Solution 800 mg/l | Sulphate Standard Solution 800 mg/l for Quality Check | 500 ml | yes
5.13 | Sulphate Standard Solution 1000 mg/l Solution 1000 mg/l | Sulphate Standard Solution 1000 mg/l for Quality Check | 500 ml | yes
5.14 | pH Buffer 4 | pH Buffer 4, for use of calibration and Quality Check | 500 ml | yes
5.15 | pH Buffer 7 | pH Buffer 7, for use of calibration and Quality Check | 500 ml | yes
5.16 | pH Buffer 10 | pH Buffer 10, for use of calibration and Quality Check | 500 ml | yes
6. | Flammable Substances | Specifications | Unit | Certificate of Analyses and traceable to NIST/ Calibration | Brand Name of Product | Price Year 1 (incl VAT) | Rand of Exchange Implications (yes/no)
6.1 | Potassium Nitrate | Potassium Nitrate, AR Grade, plastic container | 500 g | yes
7. | Flammable Liquids | Specifications | Unit | Certificate of Analyses and traceable to NIST | Brand Name of Product | Price Year 1 (incl VAT) | Rand of Exchange Implications (yes/no)
7.1 | Acetone | Acetone, CP grade, plastic bottle | 2.5 litre | yes
7.2 | Ethanol | Ethanol, 99.9%, AR grade, glass bottle | 2.5 litre | yes
7.3 | Petroleum Ether, 30-60°C | Petroleum Ether, 30-60°C, glass bottle, AR Grade | 2.5 litre | yes
8. | Toxic Substances | Specifications | Unit | Certificate of Analyses and traceable to NIST/ Calibration | Brand Name of Product | Price Year 1 (incl VAT) | Rand of Exchange Implications (yes/no)
8.1 | Mercuric Oxide Red | Mercuric Oxide Red, AR Grade, plastic container | 500 g | yes
8.2 | Silver Nitrate | Silver Nitrate, AR Grade, plastic container | 500 g | yes
9. | Toxic Liquids | Specifications | Unit | Certificate of Analyses and traceable to NIST | Brand Name of Product | Price Year 1 (incl VAT) | Rand of Exchange Implications (yes/no)
9.1 | Methanol | Methanol, AR grade, 2.5lt, GB (C55202183) | 2.5 litre | yes
Chemical Oxygen Demand (COD) Solutions:
9.2 | COD Solution A | COD Solution A 1.14538.0065 for use with SQ 118 photometer (for ranges 10-150 mg/l) | 65 ml | yes
9.3 | COD Solution B | COD Solution B 1.14539.0495 for use with SQ 118 photometer (for ranges 100-1500 mg/l) | 495 ml | yes
9.4 | COD Solution B | COD Solution B 1.14580.0495 for use with SQ 118 photometer (for ranges 500-10000 mg/l) | 495 ml | yes
9.5 | COD Solution A | COD Solution A 1.14579.0065 for use with SQ 118 photometer (for ranges 500-10000 mg/l) | 495 ml | yes
9.6 | COD Solution B | COD Solution B 1.14582.0065 for use with SQ 118 photometer (for ranges 10-150 mg/l) | 495 ml | yes
10. | 10. Harmful Liquids | Specifications | Unit | Certificate of Analyses and traceable to NIST | Brand Name of Product | Price Year 1 (incl VAT) | Rand of Exchange Implications (yes/no)
10.1 | Butanol | Butan-1-ol, AR grade, glass bottle | 2.5 litre | yes
10.2 | Chloroform | Chloroform, AR grade, glass bottle | 2.5 litre | yes
11. | Other chemicals / consumables | Specifications | Unit | Certificate of Analyses and traceable to NIST | Brand Name of Product | Price Year 1 (incl VAT) | Rand of Exchange Implications (yes/no)
11.4 | Sterile microbiological sample bag | Whirlpack or equivalent sterile microbiological sample bags without sodium thiosulphate, plain, 18 Oz with writing strip | Box/500 | N/A
11.5 | Sterile filter membranes | Membrane filters 0.45µm with 47mm diameter. White membranes with black grid. Sterile and individually packed without absorbent pads | Box/1000 | N/A
11.6 | Sterile micro bottles | Sterile micro bottles (500 ml) with sodium thiosulphate | Each | N/A
11.10 | Glass beaker, 1000ml | Glass beaker, graduated, 1000ml, squat/spouted, short form, 105mm outer diameter, 145mm height, grade A glass | Each | N/A
11.11 | Glass beaker, 2000ml | Glass beaker, graduated, 2000ml, squat/spouted, short form, 105mm outer diameter, 145mm height, grade A glass | Each | N/A
11.12 | Glass Crystalizing Dishes | Glass crystallizing dishes, 150 ml, 80mm outer diameter, 45 mm height, grade A Glass | Each | N/A
11.13 | Porcelain evaporating Dishes | Evaporating porcelain dishes, 110x45mm, 225 ml, porcelain | Each | N/A
11.14 | Test tubes, 16 mm diameter | Test tubes, glass, rim 16 mm diameter, 150 mm height | Each | N/A
11.15 | Test tubes, 18 mm diameter | Test tubes, glass, rim 18 mm diameter, 150 mm height | Each | N/A
11.18 | Empty cells for chemical oxygen demand(COD)solutions | Empty cells for chemical oxygen demand (COD) solutions for use in SQ 118 photometer, 16 mm, with screw caps (1.14724.0001 or equivalent) | Box/25 | N/A
11.19 | Ammonia (NH3) loose membranes | Ammonia loose membranes for thermo Orion Ammonia gas sensing electrode for Orion IonAnalyzer EA 940 for ion-selective determination of ammonia | Pack/20 | N/A
11.20 | Potassium Chloride (KCl) Buffer Solution | 3mol/l KCl, saturated AgCl electrode filling solution, reference potential controlled (25°C), with quality control certificate for Mettler Toledo DL50 (250 ml) | 250 ml | yes
11.21 | Ammonia (NH3) Ag/AgCl filling solution | Standard line Ag/AgCl electrode filling solution for 9609BN (60ml) | 60 ml | yes
11.22 | 2 litre sample bottles | 2 litre transparent retangular plastic sampling bottles with screw caps, mouth opening > 20mm | Each | N/A
11.23 | 1 litre sample bottles | 1 litre transparent plastic milk sample bottles with screw caps, mouth opening > 20 mm | Each | N/A
11.24 | Turbidity standards, 0.1 NTU | Turbidity Standard, 0.1 NTU (100ml dark bottle) | 100 ml | yes
11.25 | Turbidity standards, 1 NTU | Turbidity Standard, 1 NTU (100ml dark bottle) | 100 ml | yes
11.26 | Turbidity standards, 1000 NTU | Turbidity Standard, 1000 NTU (100ml dark bottle) | 100 ml | yes
11.27 | Separating funnels, 250 Ml | Separating funnels, 250 ml, G/S/C, Grade a glass each | 250 ml | yes
11.28 | Prescribed detergents for washing of glassware which is neutral in pH, O-PO4 and NH3 – PLEASE SPECIFY BELOW | Prescribed detergents for washing of glassware which is neutral in pH, O-PO4 and NH3 . | 25 litres | yes
11.29 | Nitrate reference electrode | Nitrate reference electrode Inlab 302 ISE for Mettler Toledo DL 50 | Each | N/A
11.31 | Nitrile gloves | Nitrile gloves, powder free, Latex free Small | 100/pack
11.32 | Nitrile gloves | Nitrile gloves, powder free, Latex free medium | 100/pack
11.33 | Nitrile gloves | Nitrile gloves, powder free, Latex free Large | 100/pack
11.34 | Latex gloves | Powdered, non-sterile latex gloves/examination gloves | 100/box medium, 100/box small, 100/box large | N/A
11.35 | Miele neodisher powder detergent | Miele Neodisher A8 phosphate free powder detergent (10 kg) for Mielabor G 7783 glass washing machine | 10 kg | yes
11.36 | Funnel Plastic | Funnels used for filtering sample preparations | 250mm | N/A
11.37 | Funnel Plastic | Funnels used for filtering sample preparations | 80mm | N/A
11.38 | Combitips for Eppendorfs | Funnels used for filtering sample preparations | 5 ml | N/A
11.39 | Combitips for Eppendorfs | Funnels used for filtering sample preparations | 12,5 ml | N/A
11.42 | Photocheck for spectroquant Pharo | Photocheck for spectroquant Pharo 1.14693.0001 |  | yes
11.43 | Pipecheck for spectroquant Pharo | Pipecheck for spectroquant Pharo 1.14962.0001 |  | yes
11.44 | Rectangular Cell 10mm | Rectangular Cell 10mm 1.14946.0001 |  | N/A
11.45 | Rectangular Cell 20mm | Rectangular Cell 10mm 1.14947.0001 |  | N/A
11.46 | Rectangular Cell 20mm | Rectangular Cell 10mm 1.14944.0001 |  | N/A
11.47 | Glass Beaker (150 ml) | Glass Beaker 150 ml Graduated spouted | 150 ml | N/A
11.48 | Glass Beaker (250 ml) | Glass Beaker 250 ml Graduated spouted | 250 ml | N/A
11.49 | Glass Pipette 1 ml | Graduated A Grade Glass Pipette for Reagent and Standard Preparation | 1 ml | yes
11.50 | Glass Pipette 2 ml | Graduated A Grade Glass Pipette for Reagent and Standard Preparation | 2 ml | yes
11.51 | Glass Pipette 5 ml | Graduated A Grade Glass Pipette for Reagent and Standard Preparation | 5 ml | yes
11.52 | Glass Pipette 10 ml | Graduated A Grade Glass Pipette for Reagent and Standard Preparation | 10 ml | yes
11.53 | Glass Pipette 15 ml | Graduated A Grade Glass Pipette for Reagent and Standard Preparation | 15 ml | yes
11.54 | Glass Pipette 20 ml | Graduated A Grade Glass Pipette for Reagent and Standard Preparation | 20 ml | yes
11.55 | Glass Pipette 25 ml | Graduated A Grade Glass Pipette for Reagent and Standard Preparation | 25 ml | yes
11.56 | Glass Pipette 30 ml | Graduated A Grade Glass Pipette for Reagent and Standard Preparation | 30 ml | yes
11.57 | Glass Pipette 50 ml | Graduated A Grade Glass Pipette for Reagent and Standard Preparation | 50 ml | yes
11.58 | Glass Pipette 100 ml | Graduated A Grade Glass Pipette for Reagent and Standard Preparation | 100 ml | yes
11.59 | Glass volumetric flasks, 200 ml | Glass volumetric flask, 200 ml, with stoppers, Graduated grade A glass | 200 ml | yes
11.60 | Glass volumetric flasks, 250 ml | Glass volumetric flask, 250 ml, with stoppers, Graduated grade A glass | 250 ml | yes
11.61 | Glass volumetric flasks, 500 ml | Glass volumetric flask, 500 ml, with stoppers, Graduated grade A glass | 500 ml | yes
11.62 | Glass volumetric flasks, 1000 ml | Glass volumetric flask, 1000 ml, with stoppers, Graduated grade A glass | 1000 ml | yes
11.63 | Glass volumetric flasks, 2000 ml | Glass volumetric flask, 2000 ml, with stoppers, Graduated grade A glass | 2000 ml | yes
11.64 | Glass volumetric flasks, 5000 ml | Glass volumetric flask, 5000 ml, with stoppers, Graduated grade A glass | 5000 ml | yes
11.65 | Buchner Funnel | Buchner fennel,Porcelain,90mm, with fitted rubber stopper, which needs to be inserted in a 2 litre vacuum flask | Each | N/A
11.66 | Vacuum Flask | Vacuum flask, suitable for the Buchner funnel and rubber stopper | 1000 ml | N/A
11.67 | Vacuum Flask | Vacuum flask, suitable for the Buchner funnel and rubber stopper | 2000 ml | N/A
11.68 | Vacuum Flask | Vacuum flask, suitable for the Buchner funnel and rubber stopper | 1000 ml | N/A
11.69 | Vacuum Flask | Vacuum flask, to be used for micro filtrations | 2000 ml | N/A
11.70 | Membrane Kit Nitrate | Membrane Kit Nitrate Inlab 302 ISE for Mettler Toledo DL 50 | - | N/A
11.71 | pH-electrode | Orion or equivalent pH-electrode replacement 9157BNMD - refillable pH/ATC epoxy body with Ag/AgCl reference | Each | N/A
11.72 | Bottle Top Dispensers | Bottle Top Dispensers | 1-5 ml | N/A
11.73 | Bottle Top Dispensers | Bottle Top Dispensers | 1-10 ml | N/A
11.74 | 10 ml sample tubes poly prop | poly prop17mm X 130 mm | 1000/pack | N/A
11.75 | 50 ml centrifuge tube | medical grade polypropylene | 25/pack | N/A
11.76 | Phenolphathalein | indicator | 100 ml | yes
11.77 | Thymol blue | Indicator | 100 ml | yes
11.78 | 25l Polyprop water drums with taps | Polyprop water drums with taps | 25 l
12 | Discrete Photometric Analyser | Specifications | Unit | Certificate of Analyses and traceable to NIST/ Calibration | Brand Name of Product | Price Year 1(incl VAT) | Rand of Exchange Implications (yes/no)
12.1 | Complete Start-up kit | Start-up kit required for discrete photometric analyser for calibration and validation purposes | N/A | yes
12.2 | Cuvettes for discrete photometric analyser | Decacell cuvettes | 540 pcs = 5400 cells | no
12.3 | NH4-1 (AMM R1L) | Reagent for Ammonia Analyses, 984362 NH4-1 (AMM R1L) 125mL | 125 ml | yes
12.4 | NH4-2 4 x 20mL | Reagent for Ammonia Analyses, 984363 NH4-2 4 x 20mL | 20 ml | yes
12.5 | Ammonium Std | Standard for Calibration, ICC101-5 Ammonium Std | 500 ml | yes
12.6 | Sulphate reagent | 984649 S04 Reagent 6 x 60mL for sulphate calibration | 60 ml | yes
12.7 | ICC-006-5 Sulphate Std 1000ug/mL | ICC-006-5 Sulphate Std 1000ug/mL 500mL for calibration | 500 ml | yes
12.8 | 984365 Chloride R1 20 x20mL | 984365 Chloride R1 20 x 20mL for chloride calibration | 20 ml | yes
12.9 | ICC-002- 05 Chloride Std 1000ug/mL | ICC-002-05 Chloride Std 1000ug/mL for chloride calibration | 500 ml | yes
12.10 | 984350 TON V1- Saline/high chloride applications) | 984350 TON V1- Saline/high chloride applications) for natrates calibration | 20 ml | yes
12.11 | 984351 TON V2 – Saline/high chloride | 984351 TON V2 - Saline/high chloride applications) for nitrate calibration | 20 ml | yes
12.12 | ICC-004a- 5 Nitrate SRD 1000 ug/mL | ICC-004a-5 Nitrate SRD 1000 ug/mL for nitrates calibration | 500 ml | yes
12.13 | 984371 TON 3 Reagent 4 x 20mL | 984371 TON 3 Reagent 4 x 20mL for nitrite calibration | 20 ml | yes
12.14 | ICC-007a-5 Nitrite 1000mg/L | ICC-007a-5 Nitrite 1000mg/L for nitrite calibration | 500 ml | yes
12.15 | FT65 TKN(post digest) Digestion Soln-HgSO4 1L | (post digest) Digestion Soln-HgSO4 1L | 1L | yes
12.16 | FT16 Alkalinity standard 1000 mg/l | Alkalinity 1000 mg/l | 500 ml | yes
12.17 | Alkalinity R1 | Reagent for Alkalinity Analyses, 984623 4 x 20mL | 20 ml | yes
12.18 | Alkalinity R2 | Reagent for Alkalinity Analyses, 984624 4 x 10mL | 10 ml | yes
12.19 | FT41 Bromide R1 | Reagent for Bromide analyses | 1L | yes
12.20 | FT42 Bromide R2 | Reagent for Bromide analyses | 100 ml | yes
12.21 | FT43 Bromide R3 | Reagent for Bromide analyses | 100 ml | yes
12.22 | ICC-001 Bromide | Bromide 1000 µg/mL | 125 ml | yes
12.23 | 1000 mg/l Fluoride standard | 1000 mg/l standard for Flouride calibration | 500 ml | yes
12.24 | Flouride R1 | Reagent for Flouride analyses, 984629 4 x 20mL | 20 ml | yes
12.25 | Flouride R2 | Reagent for Flouride analyses, 984630 4 x 20mL | 20 ml | yes
12.26 | Flouride R3 | Reagent for Flouride analyses, 984631 4 x 20mL | 20 ml | yes
12.27 | Chloromine | Reagent for Cyanide analyses | 100 ml | yes
12.28 | Phosphate R1 | Reagent for Phosphate analyses, 984366 4 x 20mL | 20 ml | yes
12.29 | Phosphate R2 | Reagent for Phosphate analyses, 984368 4 x 20mL | 20 ml | yes
12.30 | FT22 Phenol 1000 mg/l | 1000 mg/l standard for Phenol calibration | 500 ml | yes
12.31 | FT20 Phenol R1 | Reagent for Cyanide analyses 4-aminoantipyrine | 100 ml | yes
12.32 | FT21 Phenol R2 | Reagent for Cyanide analyses buffered potassium | 100 ml | yes
12.33 | ICP-014A Silica 1000 µg/mL standard | 1000 µg/mL standard for Silica calibration | 125 ml | yes
12.34 | Silica R1 | Reagent for Silica analyses, 984525 4 x 20mL | 20 ml | yes
12.35 | Silica R2 | Reagent for Silica analyses, 984526 4 x 20mL | 20 ml | yes
12.36 | Silica R3 | Reagent for Silica analyses, 984527 4 x 20mL | 20 ml | yes
12.37 | TF47 Diethylphenylenediamine | Reagent for Sulphide analyses | 100 ml | yes
12.38 | TF48 Diethylphenylenediamine | Reagent for Sulphide analyses | 100 ml | yes
12.39 | FT46Cyanide 1000 mg/l standard | 1000 mg/l standard for Cyanide calibration, | 500 ml | yes
12.40 | Free Cyanide 1000 µg/mL standard | 1000 µg/mL standard for Free Cyanide calibration, ICC-008 | 125 ml | yes
12.41 | Complex Cyanide 1000 µg/mL standard | 1000 µg/mL standard for Cyanide calibration, ICC-009 | 100 ml | yes
12.42 | FT45 Pyridine-Barbituric Acid | Reagent for Cyanide analyses | 500 ml | yes
12.43 | FT28 Phosphates buffer | Reagent for Cyanide analyses | 1L | yes
12.44 | 4 ml sample cup | Polystyrene cup for autoanalyzer | 4 ml | yes
13. | Microbiology | Specifications | Unit | Certificate of Analyses and traceable to NIST/ Calibration | Brand Name of Product | Price Year 1(incl VAT) | Rand of Exchange Implications (yes/no)
13.1 | Colitag Test Kit (Media), P/A, 100mL format, 100/pk | 4600-0013 Colitag Test Kit (Media), P/A, 100mL format | 100/Pack
13.2 | PLATEFILM100 Plate, iMPN, with film, 100/pk | 4600-PLATEFILM100 Plate, iMPN, with film | 100/Pack
13.3 | Colitag Vessel, 100ml with Sodium Thiosulfate | 4600-0121C Colitag Vessel, 100ml with Sodium Thiosulfate | 100/Pack
13.4 | Sealing Tool Roller | 4600-ST Sealing Tool Roller | 1
13.5 | M-Enterococcus Agar | Difco or equivalent, M-Enterococcus Agar, base for isolating and enumerating enterococci in water by membrane filtration method (Ingredients: Tryptose 20.0 g/l, Yeast extract 5.0 g/l, Dextrose 2.0 g/l, Dipotassium phosphate 4.0 g/l, Sodium azide 0.4 g/l, Agar 10.0 g/l, 2,3,5-Triphenyl Tetrazolium Chloride 0.1 g/l) | 500 g | yes
13.6 | MacConkey NPS | Used for determination of E-coli and Coliform, type 14097 | 100/pack | yes
13.7 | Mm FC NPS | Used for determination of E-coli and Coliform, type 14068 | 100/pack | yes
13.8 | Tepool NPS | Used for determination of E-coli and Coliform, type 14067 | 100/pack | yes
13.9 | Azide NPS | Used for determination of Enterococcus faecalis and Enterococci , type 14051 | 100/pack | yes
13.1 | Bismuth sulfite NPS | Used for determination of Salmonella typhosa streak, type 14052 | 100/pack | yes
13.11 | Centrimide NPS | Used for determination of Pseudomonas aeruginosa, type 14075 | 100/pack | yes
13.12 | Petrifilm Aerobic Count Plate | 3M Petrifilm Aerobic Count Plate for enumeration of aerobic bacteria in food and beverage industries | 100/pack | N/A
13.13 | Petridishes | Petri dishes, 65mm, sterile, disposable, plastic | 750/pack | N/A
13.14 | m-Fc agar | Biolab or equivalent m-Fc Agar, detection and enumeration of faecal coliforms by the membrane filtration technique (Ingredients: Tryptone 10.0 g/l, Peptone 5.0 g/l, Yeast extract 3.0 g/l, sodium chloride 5.0 g/l, lactose 12.5 g/l, bile salts no.3 1.5g/l, Aniline Blue 0.1 g/l, Agar 13.0 g/l) | 500 g | yes
13.15 | MacConkey agar purple | Biolab or equivalent MacConkey Agar Purple, medium used in the membrane filtration method of testing and counting of presumptive coliform and Escherichia coli in water samples (Ingredients: Peptone 10.0 g/l, Lactose 30.0 g/l, sodium chloride 5.0 g/l, bile salts no.3 1.5 g/l, bromocresol purple 0.12 g/l, agar 12.0 g/l) | 500 g | yes
13.16 | KLEBSIELLA PNEUM ATCC 31488 | KLEBSIELLA PNEUM ATCC 31488, MI0261K or equivalent, for E-coli anlyses | 6/pack | yes
13.17 | ESCHERICHIA COLI ATCC # 8739 | ESCHERICHIA COLI ATCC # 8739 MI0483Kor equivalen, for Feacal Coliform analyses | 6/pack | yes
13.18 | Staphylococcus aureus subsp. aureus ATCC® 25923™* | Staphylococcus aureus subsp. aureus ATCC® 25923™* MI0360K or equivalent, for total coliform analyses | 6/pack | yes
13.19 | Kocuria rhizophila ATCC® 9341™* | Kocuria rhizophila ATCC® 9341™* MI0688K or equivalent, for Heterotrophic plate count | 6/pack | yes
13.2 | ENTEROCCUS FAECALIS ATCC # 19433 | ENTEROCCUS FAECALIS ATCC # 19433 MI0367K or equivalent, for Fecal Streptococci | 6/pack | yes
13.21 | ENTEROBACTER AEROGENES ATCC 13048 | ENTEROBACTER AEROGENES ATCC 13048 MI0306K or equivalent | 6/pack | yes
14.. | ICP Consumables | Specifications/ | Unit | Certificate of Analyses and traceable to NIST/ Calibration | Brand Name of Product | Price Year 1(incl VAT) | Rand of Exchange Implications (yes/no)
14.1 | White/White pump tubing | White/White pump tubing :3710034400 | 12/pack
14.2 | Blue/Blue pump tubing | Blue/Blue pump tubing: 3710034600 | 12/pack
14.3 | Seaspray Concentric Nebulizer | Seaspray Concentric Nebulizer:G8010-60255 | 1
14.4 | Unifit Sample Connector for Nebulizer | Unifit Sample Connector for Nebulizer:G8010-80035 | 10
14.5 | Nebulizer capillary tubing | Nebulizer capillary tubing :2410020500 | Per metre
14.6 | PFA tubing for gas supply to nebulizer | PFA tubing for gas supply to nebulizer: 0890-2603 | 1
14.7 | Double pass cyclonic spray chamber | Double pass cyclonic spray chamber: G8010-60256 | 0.5 m
14.8 | Unifit drain connector | Unifit drain connectorG8010-80036 | 1
14.9 | Barb connector 1/16” to 1/8” inch | Barb connector 1/16” to 1/8” inch:1610088600 | 1
14.10 | Helix seal for spray chamber | Helix seal for spray chamber: G8010-80042 | 4
14.11 | Easy-fit, demountable torch | Easy-fit, demountable torch: G8010-60236 | 1
14.12 | Quartz outer tube set for G8010-60236 | Quartz outer tube set for G8010-60236: G8010-60231 | 2
14.13 | Torch clamp | Torch clamp: G8010-64140 | 1
14.14 | Fused Silica Window for Axial pre-optics window | Fused Silica Window for Axial pre-optics window: G8010-68014 | 1
14.15 | Flurocarbon O-ring for Axial view pre-optics window | Flurocarbon O-ring for Axial view pre-optics window :G8010-68018 | 1
14.16 | Fused Silica Window for Radial view pre-optics window | Fused Silica Window for Radial view pre-optics window :G8010-68015 | 1
14.17 | Sample tray spillage drainage tubing | Sample tray spillage drainage tubing :1/4in OD x 1/8in1D PVIDF | Per metre
14.18 | Air cooling inlet filter | Air cooling inlet filter: G8000-68002 | 1
14.19 | ICP-OES Check Solution | ICP-OES Check Solution: 6610030000 | 500 ml | yes
14.20 | Calibration Blank Solution | Calibration Blank Solution: 5190-7001 | 500 ml | yes
14.21 | MSIS Pump Tubing – Reductant (Black/Black) | MSIS Pump Tubing – Reductant (Black/Black): 3710027200 | 12/pack
14.22 | MSIS Pump Tubing – Waste (Black/White) | MSIS Pump Tubing – Waste (Black/White): 3710068900 | 12/pack
14.23 | MSIS Reagent Tubing Kit | MSIS Reagent Tubing Kit: G8479-68100 | 1
14.24 | MSIS Reaction Cone kit (complete) | MSIS Reaction Cone kit (complete): G8479-60300 | 1
14.25 | 0.80 mm ID Sample Probe | 0.80 mm ID Sample Probe: G8410-80102 | 1
14.26 | 3 Tab Grey-Grey-Grey Persitatic Pump Tubing | 50 ml Sample Tubes with Screw Cap: 3710049000 | 12/pack
14.27 | 50 ml Sample Tubes with Screw Cap | 50 ml Sample Tubes with Screw Cap: 190065200 | 500
14.28 | 16 * 125 mm Polypropylene sample tubes | 16 * 125 mm Polypropylene sample tubes: 190049700 | 1000